|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **TABLE COMPARISON FEATURES OF HESS DIGITEST MODELS** | | | |
| characteristic | Mod. 10.15.00 | Mod. 10.15.10 | Mod. 10.15.11 | NOTE |
| Field of view:  Hess screen | ±25° | ±20° | ±20° | Ocular motility stimulation |
| Field of view:  Campimeter, Scotometry and Diplopia | ±50° |  | ±40° | Ocular motility stimulation |
| Error calculation in Diopters | X |  |  | The calculation of the positioning / diplopia / scotoma error expressed in prismatic diopters |
| Error calculation in angular degrees | X | X | X | The calculation of the positioning / diplopia / scotoma error expressed in angular degrees |
| Exam comparison  (Hess screen) | X |  |  | Consente di confrontare a video due esami per verificare l’andamento della terapia |
| Height adjustable table | X |  |  | Adjust the height of the table and the patient's posture |
| Archiving exams | X | X | X | Exam database for archiving and researching previous exams. |
| Color print | X | X | X | Print exam sheets with error data graph. |
| SW update | X |  |  | Free SW updates |
| Touch Pad | X |  |  | A touch pad is provided  in addition to the mouse |